| GREATER TZANEEN MUNICIPALITY FINAL SERVICE LEVEL STANDARDS | FINANCIAL YEAR 2026/2027 |
| --- | --- |

INTERNAL MEMORANDUM

ENGINEERING SERVICES DEPARTMENT

FINAL 2026/2027

SCHEDULE OF SERVICE DELIVERY STANDARDS - ENGINEERING SERVICES DEPARTMENT

WATER SERVICES

Water Quality rating			: Blue Drop

Free water available to all		: No, only to the indigent consumers.

Frequency of meter reading	: Per month.

Duration (hours) before availability of water is restored in cases of service interruption -

- One service connection affected	: 6 hours.

- Up to 5 service connection affected	: 24 hours.

- Up to 20 service connection affected 	: 24 hours.

- Feeder pipe lager than 800mm 	: 24 hours.

Do you practice any environmental or scarce resource protection activities as part of your operations? –Yes.

How long does it take to replace faulty water meters – 24 hours

SEWERAGE SERVICES

Are your purification system effective enough to put water back in to the system after purification? – Yes,   WWTW, license compliance,

How long does it take to restore sewerage breakages on average?

- Severe spillage				: Immediate response

- Sewer blocked pipes			:  Large pipes – 24 hours.

- Sewer blocked pipes			:  Small pipes – 6 hours.

- Spillage clean-up			: 48 hours.

- Replacement of manhole covers	: 12 hours.

ROAD INFRASTRUCTURE SERVICES

Time taken to repair a single pothole on a major road	: 24 hours.

Time taken to repair a single pothole on a minor road : 48 hours.

Time taken to repair a road having an open trench service crossing	: 24 hours.

Time taken to repair walkways	: 48 hours.