## GTM Schedule
8 | 8 |  |  |  | 4 | Static monthly version . This schedule would apply each month. For 30 day month just drop day 31 and for Feb drop days 29 to 31. | [30 empty] | #REF!
June | [5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| 1:00 |  |  |  | 4:00 | 0 | 1 | 0 | 2 | 0 | 3 | 0 | 4 | 0 | 1 | 0 | 2 | 0 | 3 | 0 | 4 | 0 | 1 | 0 | 2 | 0 | 3 | 0 | 4 | 0 | 1 | 0 | 2 | 0 | 3 | 0
2 | 4:00 |  |  |  | 7:00 | 0 | 0 | 2 | 0 | 3 | 0 | 4 | 0 | 0 | 0 | 2 | 0 | 3 | 0 | 4 | 0 | 0 | 0 | 2 | 0 | 3 | 0 | 4 | 0 | 0 | 0 | 2 | 0 | 3 | 0 | 4
| 7:00 |  |  |  | 10:00 | 1 | 0 | 0 | 3 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 4 | 0
| 10:00 |  |  |  | 13:00 | 0 | 2 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 4 | 0 | 0
| 13:00 |  |  |  | 16:00 | 2 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 3 | 0 | 0 | 0 | 1
| 16:00 |  |  |  | 19:00 | 0 | 3 | 0 | 4 | 0 | 1 | 0 | 2 | 0 | 3 | 0 | 4 | 0 | 1 | 0 | 2 | 0 | 3 | 0 | 4 | 0 | 1 | 0 | 2 | 0 | 3 | 0 | 4 | 0 | 1 | 0
| 19:00 |  |  |  | 22:00 | 3 | 0 | 4 | 0 | 0 | 0 | 2 | 0 | 3 | 0 | 4 | 0 | 0 | 0 | 2 | 0 | 3 | 0 | 4 | 0 | 0 | 0 | 2 | 0 | 3 | 0 | 4 | 0 | 0 | 0 | 2
| 14:00 |  |  |  | 16:00 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 4 | 0 | 0 | 1 | 0 | 0
| 16:00 |  |  |  | 18:00 | 4 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 4 | 1 | 0 | 2 | 0 | 4 | 0 | 0 | 0 | 1 | 4 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0
| 18:00 |  |  |  | 20:00 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 3 | 0 | 0 | 2 | 0 | 3 | 1 | 0
| 20:00 |  |  |  | 22:00 | 0 | 1 | 0 | 2 | 0 | 0 | 1 | 0 | 2 | 4 | 0 | 1 | 0 | 0 | 4 | 0 | 1 | 3 | 0 | 4 | 0 | 0 | 3 | 0 | 4 | 2 | 0 | 3 | 0 | 0 | 2
| 22:00 |  |  |  | 24:00 | 0 | 0 | 2 | 0 | 3 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 4 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 3 | 0 | 4 | 0 | 0 | 3 | 0 | 4 | 2 | 0
NEW 2015 MANUAL LOAD SHEDDING SCHEDULE- WINTER
Time slot |  | Stages |  |  |  | Static monthly version . This schedule would apply each month. For 30 day month just drop day 31 and for Feb drop days 29 to 31. 1: Days of the month with the areas under it on the different timeslots
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1:00 | 4:00 | Stage 4 | Stage 3 | Stage 2 | Stage 1 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | 2x areas | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | 3x areas |  | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | 4x areas |  |  | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4:00 | 7:00 | Stage 4 | Stage 3 | Stage 2 | Stage 1 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | 2x areas | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | 3x areas |  | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | 4x areas |  |  | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
7:00 | 10:00 | Stage 4 | Stage 3 | Stage 2 | Stage 1 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | 2x areas | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | 3x areas |  | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | 4x areas |  |  | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
10:00 | 13:00 | Stage 4 | Stage 3 | Stage 2 | Stage 1 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | 2x areas | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | 3x areas |  | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | 4x areas |  |  | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
13:00 | 16:00 | Stage 4 | Stage 3 | Stage 2 | Stage 1 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | 2x areas | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | 3x areas |  | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | 4x areas |  |  | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
16:00 | 19:00 | Stage 4 | Stage 3 | Stage 2 | Stage 1 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | 2x areas | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | 3x areas |  | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | 4x areas |  |  | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
19:00 | 22:00 | Stage 4 | Stage 3 | Stage 2 | Stage 1 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | 2x areas | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | 3x areas |  | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | 4x areas |  |  | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 8 | 7 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
22:00 | 1:00 | Stage 4 | Stage 3 | Stage 2 | Stage 1 | 8 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 2x areas | 2 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 |  | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 3x areas |  | 4 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
|  |  | 4x areas |  |  | 6 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
|  | 4 | 3 | 2 | 1 | 1 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 |  | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 3 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
[6 empty] | 5 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
[6 empty] | 7 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0
|  | 4 | 3 | 2 | 1 | 2 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 |  | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 4 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
[6 empty] | 6 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
[6 empty] | 8 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
|  | 4 | 3 | 2 | 1 | 3 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
[6 empty] | 5 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
[6 empty] | 7 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0
[6 empty] | 1 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 |  | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 4 | 3 | 2 | 1 | 4 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
[6 empty] | 6 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
[6 empty] | 8 | 7 | 6 | 5 | 4 | 8 | 7 | 6 | 5 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 2 | 1 | 8 | 7 | 6 | 2 | 1 | 8 | 7 | 3 | 2 | 1 | 8 | 4 | 3 | 2 | 1 | 5 | 4 | 3 | 2 | 6 | 5 | 4 | 3 | 7 | 6 | 5 | 4 | 8 | 7 |  | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | Days of the month with the areas under it on the different timeslots 3: 1; Days of the month with the areas under it on the different timeslots 4: 2; Days of the month with the areas under it on the different timeslots 5: 3; Days of the month with the areas under it on the different timeslots 6: 4; Days of the month with the areas under it on the different timeslots 7: 5; Days of the month with the areas under it on the different timeslots 8: 6; Days of the month with the areas under it on the different timeslots 9: 7; Days of the month with the areas under it on the different timeslots 10: 8; Days of the month with the areas under it on the different timeslots 11: 9; Days of the month with the areas under it on the different timeslots 12: 10; Days of the month with the areas under it on the different timeslots 13: 11; Days of the month with the areas under it on the different timeslots 14: 12; Days of the month with the areas under it on the different timeslots 15: 13; Days of the month with the areas under it on the different timeslots 16: 14; Days of the month with the areas under it on the different timeslots 17: 15; Days of the month with the areas under it on the different timeslots 18: 16 |  | 0 | 0 | 0 | 0 | 48 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 30 | 31
| Stage 1 |  |  |  |  | Days of the month with the areas under it on the different timeslots 3: 186; Days of the month with the areas under it on the different timeslots 4: 186; Days of the month with the areas under it on the different timeslots 5: 186; Days of the month with the areas under it on the different timeslots 6: 186; Days of the month with the areas under it on the different timeslots 7: 186; Days of the month with the areas under it on the different timeslots 8: 186; Days of the month with the areas under it on the different timeslots 9: 186; Days of the month with the areas under it on the different timeslots 10: 186; Days of the month with the areas under it on the different timeslots 11: 0; Days of the month with the areas under it on the different timeslots 12: 0; Days of the month with the areas under it on the different timeslots 13: 0; Days of the month with the areas under it on the different timeslots 14: 0; Days of the month with the areas under it on the different timeslots 15: 0; Days of the month with the areas under it on the different timeslots 16: 0; Days of the month with the areas under it on the different timeslots 17: 0; Days of the month with the areas under it on the different timeslots 18: 0
Stage 2 | bar: Days of the month with the areas under it on the different timeslots 1
Stage 3 | bar: Days of the month with the areas under it on the different timeslots 1
Stage 4 | bar: Days of the month with the areas under it on the different timeslots 1
NOTE
STAGE 1 = RED BLOCK ( 1 BLOCK )
STAGE 2 = RED BLOCK + PURPLE BLOCK ( 2 BLOCKS)
STAGE 3 = RED BLOCK + PURPLE BLOCK + YELLOW BLOCK ( 3 BLOCKS)
STAGE 4 = RED BLOCK + PURPLE BLOCK + YELLOW BLOCK + GREEN BLOCK ( 4 BLOCKS)
GTM NEW AREAS
Area | Affected |  |  |  |  | Days of the month with the areas under it on the different timeslots 15: Feeder
1 | Georges Valley, Haenertsburg, Pusella |  |  |  |  | Days of the month with the areas under it on the different timeslots 15: Ebenezer
2 | Magoebaskloof, Politsi, Campsiesglen, Agatha (Blacknoll) |  |  |  |  | Days of the month with the areas under it on the different timeslots 15: Duivelskloof
3 | Lushof North, Deerpark, Mieleikloof, Doornhoek, Broederstroomdrift |  |  |  |  | Days of the month with the areas under it on the different timeslots 15: Tat's Graham
4 | Tzaneen , Lushof South |  |  |  |  | Days of the month with the areas under it on the different timeslots 15: Tzaneen Town
5 | Deerpark, California, Taganashoek, Jaffray, Letsitele Valley, Nkowankowa, Lenyenye, Agatha Top Side |  |  |  |  | Days of the month with the areas under it on the different timeslots 15: Letsitle,
6 | Giyani Road, Eiland Road, Riverside incl Rainbow |  |  |  |  | Days of the month with the areas under it on the different timeslots 15: Eiland
7 | From Waterbok to Letaba Ranch |  |  |  |  | Days of the month with the areas under it on the different timeslots 15: Rubbervale
8 | Letsitele Town, Letaba Estates, Yamorna, Ledzee |  |  |  |  | Days of the month with the areas under it on the different timeslots 15: Letaba

## Block 1- 8 (hidden)
BLOCK 1
Eskom that Shed Load | [8 empty] | Load shedding |  | Load Restoration
ESKOM / MUNIC | Field Service Area | Substation | Feeder | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments | MW | Time breaker Open | MW | Time breaker Closed
ESKOM | Thabazimbi CNC | Thabazimbi Combined | Medupi 132kV | NW |  |  |  | Open First To Split The Network
ESKOM | Lephalale CNC | Medupi 132kV | Thabazimbi Combined 132kV | NW | 10 |  |  | Open second - HOS to open Bkr on Temse
ESKOM | Northam CNC | Spitskop | Arthursview Traction 88kV | NW | 5 |  |  | HOS to open Bkr on Temse - Ensure the two N/O points NVP123 & NVP206 is open
ESKOM | Thlabane CNC | Millenium | Mogwase Paul Trac Tee 88kV | NW |  |  |  | Open First To Split The Network. Ensure the three N/O points NVP206 and Vaalkop Pumps and Paul Traction is open
ESKOM | Matooster CNC | Sun City | Millenium Mogwase Tee 88kV | NW | 30 |  |  | Open Second . Ensure the three N/O points NVP206 and Vaalkop Pumps and Paul Traction is open
| Delmas CNC | Dryden Rutal | Trfr 1&2 11kV | S | 15
ESKOM | Marathon CNC | Nelsriver | Delta/Marathon Incoming 132kV | E | 20
ESKOM | Bela Bela CNC | Warmbad | Zwartkloof 66kV | N | 5 |  |  | HOS To Open Bkr On Temse
ESKOM | Modimolle CNC | Sanria | Trf 1 & 2 22kV | N | 10
ESKOM | Modimolle CNC | Nylstroom | Vaalwater 66kV | N | 15
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder |  | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95
TOTAL LOAD REDUCTION |  |  |  |  | 126.55 | 0
BLOCK 2
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
ESKOM | Witbank North CNC | Doornpoort | Munic 1 & 2 22kV | S | 60
ESKOM | Secunda CNC | Secunda | Cust 1,2 & 3 33kV | S | 15
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder |  | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Brits MUNIC | Brits Area | Munic | Rotate there own loads | HOS | 10
Rustenberg MUNIC | Rustenburg Area | Munic | Rotate there own loads | HOS | 20
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95
TOTAL LOAD REDUCTION |  |  |  |  | 121.55 | 0
BLOCK 3
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
ESKOM | Witbank North CNC | Kwa - Quqa | Customer 1 132kV | S | 40
ESKOM | Machadodorp CNC | Machdodorp | Machado Dorp Town 11kV | C | 5
ESKOM | Machadodorp CNC | Machdodorp | Waterval Boven 22kV | C | 5
ESKOM | Ermelo CNC | Ermelo | Ermelo Munic 88kV and Trfr 1&2 - 11kV | C | 20
ESKOM | Lydenburg CNC | Lydenburg | Lydenburg Town 22kV (Remember - Mashishing is also affected) | E | 5
ESKOM | Marathon CNC | Rockysdrift | Whiteriver 132kV | E | 20 |  |  | Phone Ramond 084 236 1415 Anton 084 789 6825
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder |  | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Brits MUNIC | Brits Area | Munic | Rotate there own loads | HOS | 10
Rustenberg MUNIC | Rustenburg Area | Munic | Rotate there own loads | HOS | 20
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95
TOTAL LOAD REDUCTION |  |  |  |  | 141.55 | 0
BLOCK 4
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
ESKOM | Witbank North CNC | Witbank DS | Witbank Munic 1 22kV | S | 10
ESKOM | Ohrigstad CNC | Ohrigstad | Trf 1 22kV | E | 5
ESKOM | Lydenburg CNC | Sabie | Groothout 132kV & all 22kV's - (Excluding Mondi Timbers) | E | 20 |  |  | Excluding Mondi Timbers - Sensitive customer
ESKOM | Piet Retief CNC | Piet Retief | Piet Retief Munic 88kV | C | 10
ESKOM | Hendrina CNC | Optimum | Trf 11 & 12 6.6kV & Hendrina Town 22kV | C | 10
ESKOM | Groblersdal CNC | Selonsrivier | Trf 2 22kV | C | 5
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder |  | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Brits MUNIC | Brits Area | Munic | Rotate there own loads | HOS | 10
Rustenberg MUNIC | Rustenburg Area | Munic | Rotate there own loads | HOS | 20
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95 |  |  | To be added here
TOTAL LOAD REDUCTION |  |  |  |  | 106.55 | 0
BLOCK 5
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
ESKOM | Witbank North CNC | Churchill | WTB T.C 132kV | S | 30
MUNIC | Lekwa Munic | Standerton Area | Munic |  | 44 | 5.5 |  | To be added here
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder |  | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Brits MUNIC | Brits Area | Munic | Rotate there own loads | HOS | 10
Rustenberg MUNIC | Rustenburg Area | Munic | Rotate there own loads | HOS | 20
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95 |  |  | To be added here
TOTAL LOAD REDUCTION |  |  |  |  | 120.55 | 0
BLOCK 6
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
ESKOM | Steelpoort CNC | Steelpoort | Trf 1 & 2 22kV | E | 15
ESKOM | Steelpoort CNC | Merensky | Buffelsvlei & Lavino 22kV | E | 20 |  |  | Phone Leon 082 925 1638 to reduce load on Excluded Rurals
ESKOM | Marathon CNC | Marathon | Trf 21 and 22 22kV | E | 15 |  |  | TOC to open 22kV Breakers
ESKOM | Marathon CNC | Marathon | Paardekop/Kiepersol 66kV | E | 20 |  |  | Marathon supply - Open first (Please ensure Trfr 1-3 22kV B/B isolators are open at Kiepersol = N/O).
ESKOM | Kiepersol CNC | Kiepersol | Kiepersol-Temp 132kV | E | 30 |  |  | Hazyview supply - Open second (Please ensure Trfr 1-3 22kV B/B isolators are open at Kiepersol = N/O).
ESKOM | Marathon CNC | Highlands | Trf 1 & 3 22kV | E | 25
ESKOM | Marathon West CNC | Sappi | Trf 2 22kV | E | 5
ESKOM | Lydenburg CNC | Lydenburg | Rurals 22kV (Exclude Rustplaas & Lydenburg Town) | E | 10
ESKOM | Kanyamazane CNC | Karino | Trf 11 & 12 11kV | E | 10
ESKOM | Matsulu CNC | Matsulu | Trf 1&2 11kV | E | 10
ESKOM | Marathon West CNC | Schagen | Trf 1 22kV | E | 10
ESKOM | Mkhuhlu CNC | Mkhuhlu | Trf 11 & 12 11kV | E | 10
ESKOM | Mkhuhlu CNC | Cheetah | Trf 1 & 2 22kV | E | 5
ESKOM | Malelane CNC | Lomati | Nkomazi 132 kV and all 22kV's excluding TSB 22kV | E | 36 |  |  | Excluding TSB 22kV
ESKOM | Green Valley CNC | Acornhoek | Trf 11 and 12 22kV | E + FN | 15 |  |  | TOC to Open 22kV Breakers
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder |  | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95 |  |  | To be added here
TOTAL LOAD REDUCTION |  |  |  |  | 252.55 | 0
BLOCK 7
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
ESKOM | Botlokwa CNC | Tabor | Botlokwa 132kV | FN | 10 |  |  | New to the Schedule
ESKOM | Letaba CNC | Tzaneen-Tarentaal | Ga-Kgapane 132kV | FN | 30 |  |  | Open first to split the network
ESKOM | Mooketsi CNC | Tabor | Soekmekaar 132kV | FN |  |  |  | Open second
ESKOM | Mooketsi CNC | Spencer | Bolobedu 132kV | FN | 10
ESKOM | Ha-Ravele CNC | Louis Trichardt | Ribola 132kV | FN |  |  |  | Open first to split the network
ESKOM | Bolobedu CNC | Spencer | Giyani & Venulu 132kV's | FN | 100 |  |  | Open second
ESKOM | Mooketsi CNC | Flurian | Louis Trichardt 132kV | FN | 15
|  |  | Do Not Open the Venetia Soutpan 132kV Breakers | FN |  |  |  | 1. Contact PV plant at Soutpan and inform the customer of the Load Shedding affecting the network, the customer must be on Voltage Control mode.
ESKOM | Alldays CNC | Soutpan | Trfr 1 &2 | FN | 10
ESKOM | Dendron CNC | Dendron | Bochum 132kV | N | 10
ESKOM | Dendron CNC | Dendron | Transformers 1 & 2 132/22kV | N | 20
ESKOM | Alldays CNC | Venetia | Pontdrif 132kV | FN | 40 |  |  | Open First to split the network
ESKOM | Ha-Ravele CNC | Louis Trichardt | Messina 132kV (future Nzhelele 2) | FN |  |  |  | Open Second to shed load
ESKOM | Bolobedu CNC | Mamitwa | Trfr 1 and 2 22kV | FN | 10
| Delmas CNC | Cohen | Trfr 1&2 88kV | S | 7
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder |  | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95 |  |  | To be added here
TOTAL LOAD REDUCTION |  |  |  |  | 278.55 | 0
BLOCK 8
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Eskom | Green Valey CNC | Acornhoek | Nwarele 132kV | E & FN | 20 |  |  | Substation belongs to East Desk to do operating
ESKOM | Malelane CNC | Koorsboom | All Rurals 22kV | E | 10 |  |  |  | Moved from Block 15 to Block 9
Eskom | Thulamahashe CNC | Thulamahashe | Transformer 1 22kV | E | 5
Eskom | Thulamahashe CNC | Thulamahashe | Transformer 2 22kV | E | 5
Eskom | Brits CNC | Brits Rural | Transformer 2 11kV | W | 6
Eskom | Brits CNC | Brits Rural | Transformer 3 11kV | W | 6
Eskom | Brits CNC | Brits Rural | Transformer 4 11kV | W | 8
ESKOM | Emalahleni CNC | Wilge | Kendal 22kV | S | 5
| Delmas CNC | Sundra Rural | Trfr 1&2 88kV | S | 12
ESKOM | Hoedspruit CNC | Lamara | Trf 1 22kV | FN | 10 |  |  |  | Moved from Block 15 to Block 10
ESKOM | Piet Retief CNC | Geelhoutboom | Driefontein 22kV | C | 1 |  |  |  | Moved from Block 15 to Block 11
ESKOM | Amsterdam CNC | Jericho | Trfr 1&2 22kV | C | 10 |  |  | No problem (Send Field services) | Moved from Block 15 to Block 12
ESKOM | Groblersdal TSA | Wolwekraal | Groblersdal 88kV | C | 25 |  |  | Open the two loads first before the Mapoch 132kV lines and restore last during restoration.
ESKOM | Groblersdal TSA | Wolwekraal | Amandla 88kV | C | 45
ESKOM | Roossenekal CNC | Mapoch | Naledi 132kV | C |  |  |  | Open first to split the network
ESKOM | Roossenekal CNC | Mapoch | Wolwekraal 132kV | C |  |  |  | Open second to split the vetwork
ESKOM | Roossenekal CNC | Mapoch | Blue Ridge | C | 50 |  |  | Open third to reduce the load
ESKOM | Piet Retief CNC | Mooihoek | Moolman/Mooihoek 22kV | C | 5 |  |  | Sup problem (Send Field services)
ESKOM | Middelburg CNC | Rockdale | Rurals 22kV ( Exclude Goedehoop, Fairbro1&2, RMB Alloys & Raleigh 22kV) | C | 10 |  |  | NB!! Fairbro 1&2 is customer Bkr's.
ESKOM | Badplaas CNC | Vygeboom | Trf 1 & 2 22kV | C | 13
ESKOM | Badplaas CNC | Vygeboom | Oshoek/Holnek 132kV | C | 39 |  |  | Open first to split the network
ESKOM | Carolina CNC | Witkloof | Holnek 132kV | C |  |  |  | Open second
ESKOM | Carolina CNC | Witkloof | Moedig/Naudesbank 22kV | C | 5
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder |  | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95 |  |  | To be added here
TOTAL LOAD REDUCTION |  |  |  |  | 306.55 | 0
Note on I120: Peet: This Substation do have supervisory and is on line
Note on I143: Peet: This Substation do have supervisory and is on line

## Block 9 - 16 (hidden)
BLOCK 9
Eskom that Shed Load | [8 empty] | Load shedding |  | Load Restoration
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments | MW | Time breaker Open | MW | Time breaker Closed
ESKOM | Polokwane CNC | Silica | ThabaMoopo North 132kV | N | 30
ESKOM | Lebowakgomo CNC | Lebowa | Transformer 11 33/11kV | N | 3
ESKOM | Lebowakgomo CNC | Government | All 11kV feeders excl Specon | N | 10
ESKOM | Lebowakgomo CNC | Government | Habakuk 33kV | N | 10 |  |  | Open First to split the network
ESKOM | Zebediela CNC | Dithabaneng | Veeplaas 33kV | N |  |  |  | Open second to shed load
ESKOM | Zebediela CNC | Gompies | Transformer 1 132kV - (No 22kV Bkr) Transformer 2 22kV | N | 10 |  |  | Open Trfr 1 132kV due no 22kV Bkr. Don't shed Voorspoed mine
ESKOM | Naboomspruit CNC | Cromore | Zoetveld 22kV | N | 5
ESKOM | Rustenburg CNC | Turf Shaft | Marikana 88kV | NW | 15
ESKOM | Lephalele CNC | Matimba | Tom Burke 132kV | NW | 30 | 30 |  | HOS to open Bkr on Temse
ESKOM | Lephalale TSA | Waterberg | Transformer 11 - 22Kv | NW | 7 | Shedding the Afguns and Marapong 22 kV feeders |  | Shedding the Afguns and Marapong 22 kV feeders
ESKOM | Northam CNC | Northam | Rooiberg Minerals 88kV | NW | 10
ESKOM | Dwaalboom CNC | Dwaalboom | Transformer 11 22kV | NW | 5 |  |  | May have supervisory problems
ESKOM | Dwaalboom CNC | Derdepoort | Transformer 1 22kV | NW | 5 |  |  | May have supervisory problems
ESKOM | Hennops CNC | Ucar Minerals | Transformer 11A+B 88kV | W | 10
ESKOM | Kanyamazane CNC | Karino | Kanyamazane 132kV | E | 40
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Barberton MUNIC | Baberton Area | Munic | Rotate their own loads | HOS | 1.5
Steve Tshwete Munic | Middelburg | Munic | Rotate their own loads | HOS | 10
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95 |  |  | To be added here
TOTAL LOAD REDUCTION |  |  |  |  | 218.05 | 30 | 0
BLOCK 10
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
ESKOM | Marathon CNC | Delta | Transformer 1 33kV | E | 25
ESKOM | Marathon CNC | Delta | Transformer 3 33kV | E | 25
ESKOM | Thlabane TSA | Donaldsvale | All 11kV feeders excl FireBridge | NW | 25 | Newly added to the schedule |  | Newly added to the schedule
ESKOM | Thlabane TSA | Phokeng | Trfr 1 & 2 | NW | 10 | Newly added to the schedule |  | Newly added to the schedule
ESKOM | Thlabane TSA | Bafokeng 7 | Trf 3A 11kV | NW | 10 |  |  | Moved from Block 12 to Block 10
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Barberton MUNIC | Baberton Area | Munic | Rotate their own loads | HOS | 1.5
Lekwa Munic | Standerton Area | Munic | Rotate their own loads | HOS |  |  |  | To be removed(placed in block 5)
Steve Tshwete Munic | Middelburg | Munic | Rotate their own loads | HOS | 10
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Rustenburg Munic | Rustenburg Area | Munic | Rotate their own loads | HOS | 20
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95 |  |  | To be added here
TOTAL LOAD REDUCTION |  |  |  |  | 143.05 | 30 | 0
BLOCK 11
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
ESKOM | Secunda CNC | Sol | Langverwaght 1 22kV | S | 10 |  |  | HOS to open on TEMSE
ESKOM | Secunda CNC | Sol | Langverwaght 2 22kV | S | 10 |  |  | HOS to open on TEMSE
ESKOM | Secunda CNC | Wildebees | Transformer 11 and 12 22kV breaker | S | 3 |  |  | Kinross 1 22kV - affected
ESKOM | Secunda CNC | Wildebees |  | S | 3 |  |  | Kinross 2 22kV- affected
ESKOM | Secunda CNC | Wildebees |  | S | 4 |  |  | Trichardt 22kV- affected
ESKOM | Secunda CNC | Wildebees |  | S | 2.5 |  |  | Evander 1 22kV - affected
ESKOM | Secunda CNC | Wildebees |  | S | 2.5 |  |  | Evander 2 22kV - affected
ESKOM | Ha-Ravele CNC | Louis Trichardt | Munic 1 11kV | FN | 5 |  |  | Do not open Trfr 1-4 Bkr's due overloading
ESKOM | Ha-Ravele CNC | Louis Trichardt | Munic 2 11kV | FN | 5 |  |  | Do not open Trfr 1-4 Bkr's due overloading
ESKOM | Bethal CNC | Bethal | Bethal munic 1 11kV | W | 22
ESKOM | Bethal CNC | Bethal | Bethal munic 2 11kV | W
ESKOM | Bethal CNC | Bethal | Bethal munic 3 22kV | W | 12
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Barberton MUNIC | Baberton Area | Munic | Rotate their own loads | HOS | 1.5
Steve Tshwete Munic | Middelburg | Munic | Rotate their own loads | HOS | 10
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Lephalale Munic | Ellisras Area | Munic | Rotate their own loads | HOS | 15 |  |  | Phone Tienie 082 566 8522 Jan 083 236 0454
Rustenburg Munic | Rustenburg Area | Munic | Rotate their own loads | HOS | 20
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95 |  |  | To be added here
TOTAL LOAD REDUCTION |  |  |  |  | 142.05 | 0 | 0
BLOCK 12
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
ESKOM | Modimolle CNC | Nylstroom | Trf 11 132kV | N | 30
ESKOM | Naboomspruit CNC | Naboomspruit | Trf 1 11kV | N | 15
Eskom | Marathon West CNC | Mataffin | Mataffin Munic 132kV | E | 5 |  |  | Newly added.
ESKOM | Steelpoort CNC | Merensky | Burgersfort 22kV | E | 10
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Barberton MUNIC | Baberton Area | Munic | Rotate their own loads | HOS | 1.5
Steve Tshwete Munic | Middelburg | Munic | Rotate their own loads | HOS | 10
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Rustenburg Munic | Rustenburg Area | Munic | Rotate their own loads | HOS | 20
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95 |  |  | To be added here
TOTAL LOAD REDUCTION |  |  |  |  | 108.05 | 0 | 0
BLOCK 13
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
ESKOM | Bela-Bela CNC | Warmbad | Warmbron 66kV | N | 25 |  |  | HOS to open breaker from TEMSE
ESKOM | Thabazimbi CNC | Thaba Combined | Munic 1 11kV | NW | 7.5
ESKOM | Thabazimbi CNC | Thaba Combined | Munic 2 11kV | NW | 7.5
ESKOM | Selati CNC | Chemie | Selati 1 33kV | FN | 10
ESKOM | Selati CNC | Chemie | Selati 2 33kV | FN | 10
ESKOM | Selati CNC | Chemie | Namagale 33kV | FN | 10
ESKOM | Selati CNC | Chemie | Lulekani 33kV | FN | 5.5
ESKOM | Selati CNC | Chemie | Mashishimale 11kV | FN | 5 |  |  | Moved from Block 6
ESKOM | Selati CNC | Chemie | Maseke 11kV | FN | 2.5
ESKOM | Selati CNC | Foskor | Kruger Park 1 & Mica 22kV | FN | 5 |  |  | Moved from Block 6
ESKOM | Wildebees CNC | Turbo Park | Customer 1 11kV | S | 5
ESKOM | Wildebees CNC | Turbo Park | Customer 2 11kV | S | 5
ESKOM | Wildebees CNC | Turbo Park | Customer 3 11kV | S | 5
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Barberton MUNIC | Baberton Area | Munic | Rotate their own loads | HOS | 1.5
Steve Tshwete Munic | Middelburg | Munic | Rotate their own loads | HOS | 10
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Rustenburg Munic | Rustenburg Area | Munic | Rotate their own loads | HOS | 20
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95 |  |  | To be added here
TOTAL LOAD REDUCTION |  |  |  |  | 151.05 | 0 | 0
BLOCK 14
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Eskom | Bethal CNC | Bethal | All Rurals 11kV | W | 10
Eskom | Bethal CNC | Bethal | Morgenzon 22kV | W | 15
Eskom | Cullinan CNC | Dolomite | Farm Fare 11kV | W | 5
Eskom | Cullinan CNC | Dolomite | La Cock 11kV | W | 5
Eskom | Selati CNC | Gravelotte | Foskor 132kV | FN | 15
Eskom | Machadodorp CNC | Machadodorp | Valyspruit 22kV | C | 5
Eskom | Amsterdam CNC | Panbult | Iswepe & Panbuild 22kV's. | C | 10 |  |  | Excluding Key industrial customer - MP1
Eskom | Machadodorp CNC | Plato | Transformer 3 11kV | C | 7.5
Eskom | Machadodorp CNC | Plato | Transformer 4 11kV | C | 7.5
Eskom | Piet Retief CNC | Kemp | Atalie 22kV | C | 10
Eskom | Carolina CNC | Witkloof | Thuli 132kV | C | 10
Eskom | Makopane CNC | Potgietersrus | MP 1 33kV | N | 15
Eskom | Makopane CNC | Potgietersrus | MP 2 33kV | N | 15
Eskom | Makopane CNC | Potgietersrus | Mawalereng 33kV | N | 15
Eskom | Jane Furse CNC | Jane Furse | Transformer 1 22kV | N | 10
Eskom | Jane Furse CNC | Jane Furse | Transformer 2 22kV | N | 10
Eskom | Naboomspruit CNC | Tweekoppies | Transformer 11 22kV | N | 5
Eskom | Witbank North CNC | Kromdraai | Bulpan 22kV | S | 5 |  |  | Ensure CHU/OLD32 and Also OLD/H1A
Eskom | Thlabane CNC | Shaft 15 | Transformer 1 22kV | NW | 15
Eskom | Thlabane CNC | Shaft 15 | Transformer 2 22kV | NW | 15 |  |  | 220
Eskom | Marathon CNC | Delta | Municipality 132kV | E | 15 |  |  | Newly added.
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Barberton MUNIC | Baberton Area | Munic | Rotate their own loads | HOS | 1.5
Steve Tshwete Munic | Middelburg Area | Munic | Rotate their own loads | HOS | 10
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95 |  |  | To be added here
TOTAL LOAD REDUCTION |  |  |  |  | 248.05 | 0 | 0
BLOCK 15
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Eskom | Hennops CNC | Hennops | Transformer 1 11kV | W | 7.5
Eskom | Hennops CNC | Hennops | Transformer 2 11kV | W | 7.5
Eskom | Makopane CNC | Sandsloot | Transformer 11 22kV | N | 10
Eskom | Bela-Bela TSA | Rust de Winter | Open all 22kV breakers except Vergenoeg 22kV | N | 10 |  |  | Please take note: Okamelang 22kV feeder has no Bkr. In the Substation. Please sent field service to open Bkr'S ROK1/2 & ROK2 on the feeder.
Eskom | Malelane CNC | Malelane | All Rurals 22kV | E | 20 |  |  | Exclude TSB 22kV
Eskom | Malelane CNC | Malelane | Transformer 22/11kV | E | 10
Eskom | Mooinooi CNC | Modderspruit | Open all 11kV breakers except Leeukop 11kV | NW | 10
Eskom | Northam CNC | Northam | Rurals 11kV | NW | 10
Eskom | Mooinooi CNC | Elandsdrift | Transformer 1 11kV | NW | 5
Eskom | Mooinooi CNC | Elandsdrift | Transformer 2 11kV | NW | 5
Eskom | Mooinooi CNC | Wonderkop | Transformer 2 88kV | NW | 10
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Barberton MUNIC | Baberton Area | Munic | Rotate their own loads | HOS | 1.5
Steve Tshwete Munic | Middelburg Area | Munic | Rotate their own loads | HOS | 10
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95 |  |  | To be added here
TOTAL LOAD REDUCTION |  |  |  |  | 133.05 | 0 | 0
BLOCK 16
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Eskom | Malelane CNC | Komatipoort | Transformer 11 22kV | E | 6 |  |  | NB !!! TOC to Open Breakers
Eskom | Malelane CNC | Komatipoort | Transformer 12 22kV | E | 6 |  |  | NB !!! TOC to Open Breakers
Eskom | Malelane CNC | Komatipoort | Transformer 13 22kV | E | 8 |  |  | NB !!! TOC to Open Breakers
Eskom | Polokwane CNC | Eerstegoud | All 33kV feeders excl Smitsdrif | N | 8 |  |  | Smitsdrift supplies water pumping station that supplies Polokwane
Eskom | Polokwane CNC | Pietersburg | Songloed 132kV | N | 20
Eskom | Piet Retief CNC | Kemp | Kemp 11kV | C | 5
Eskom | Brits CNC | Lefco | Transformer 2 11kV | W | 5 |  |  | Phone KCE Letitia 082 551 9985
Eskom | Brits CNC | Lefco | Transformer 4 11kV | W | 5 |  |  | Phone KCE Letitia 082 551 9985
Eskom | Vaalkop CNC | Ontgin | Transformer 11 11kV | W | 5
Eskom | Brits CNC | Geluk Rural | Transformer 1 11kV | W | 5
Eskom | Brits CNC | Geluk Rural | Transformer 2 11kV | W | 5
Eskom | Hennops CNC | Skeerpoort | Transformer 1 11kV | W | 5
Eskom | Hennops CNC | Skeerpoort | Transformer 2 11kV | W | 5
Eskom | Hennops CNC | Skeerpoort | Hekpoort 88kV | W | 5
Eskom | Vaalkop CNC | Veekraal | Transformer 1 11kV | W | 5
Eskom | Vaalkop CNC | Veekraal | Transformer 2 11kV | W | 5
Eskom | Thlabane CNC | Trident | Shylock 2 88kV (Swartruggens) | NW |  |  |  | Open First to split the network - HOS to open Bkr on Temse
Eskom | Thlabane CNC | Trident | Shylock 1 88kV | NW | 20 |  |  | Open second to shed load - HOS to open Bkr on Temse
Eskom | Koster CNC | Olifants nek | Transformer 1 11kV | NW | 7.5
Eskom | Koster CNC | Olifants nek | Transformer 2 11kV | NW | 7.5
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Barberton MUNIC | Baberton Area | Munic | Rotate their own loads | HOS | 1.5
Lekwa Munic | Standerton Area | Munic | Rotate their own loads | HOS |  |  |  | To be removed(placed in block 5)
Steve Tshwete Munic | Middelburg Area | Munic | Rotate their own loads | HOS | 10
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 5.6
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Delmas Munic | Delmas Area | Munic | Rotate their own loads | HOS | 0.95 |  |  | To be added here
TOTAL LOAD REDUCTION |  |  |  |  | 166.05 | 0 | 0
Note on D17: Peet: This 88kV Bkr is a common Bkr for Trfr11 A+B
Note on I30: user:Wolfgang Bhomer 083 262 2930
Note on C121: Peet: Palmer Substation is dismantled and Plato Substation feeding now Palmer Substations feeders. I increase the load with 5MW because there is more 11kV feeders at Plato Substation - I Hope this is correct, please confirm
Note on D121: Peet: Here is two transformers at Plato Sunstation
Note on C122: Peet: Palmer Substation is dismantled and Plato Substation feeding now Palmer Substations feeders. I increase the load with 5MW because there is more 11kV feeders at Plato Substation - I Hope this is correct, please confirm
Note on D122: Peet: Here is two transformers at Plato Sunstation
Note on D151: Peet: Malelane Town is included in the load-shedding schedule